## WB_LT Comm_Sample
Sample Calculation
|  | Heads | Value | Details
|  | Santioned | 10 | KVA
|  | Fixed charges | 30 | Rs/ kVA on unit consumption
Energy charges (TOU)
TOU1 | Normal Time | 06:00 Hrs to 17:00 Hrs | 6.66 | Rs/ kWh on unit consumption
TOU2 | Peak Time | 17:00 Hrs to 23:00 Hrs | 7.34 | Rs/ kWh on unit consumption
TOU3 | Off-Peak Time | 23:00 Hrs to 06:00 Hrs | 5.59 | Rs/ kWh on unit consumption
|  | Differential ECR ( Energy Charge Rate) | 0.485 | DVC would provide by end of every month and this would be forward calculation
|  | MVCA ( Monthly Variable Cost Adjustment) | 0.05 | DVC would provide by end of every month and this would be forward calculation
|  | Rebate | 5 | Rs on E-Bill for a month
|  | Month | 2025-08-01
|  | No. of Days | 31
|  | No, of hours | 744
|  | Load Shedding Hours | 3
|  | Remaining Hours | 741
|  | Variables | KVA
|  | 85% of Contract Demand | 8.5
|  | Contract Demand | 10
[8 empty] | 229.2581 | 1998 | 2936 | 2795 | 48.5026 | 5.0003 | 0 | 5
Assumption : Rounded-up to 4 decimal points for calculation purpose
| 100 | [6 empty] | Fixed Charges in Rs | Energy Charge in Rs | Energy Charge in Rs | Energy Charge in Rs | Differential ECR in Rs | MVCA in Rs | Rebate ( Voucher) in Rs | Ebill Opted in Rs | Opening Balance
| 2 Months Prior Daily profile |  |  |  | Instantenous in KVA |  |  | =Fixed Charge/ No. of Calender Days | =kwh x Energy Charge | =kwh x Energy Charge | =kwh x Energy Charge | =kwh (two month back) x Diff ECR Charge | =kwh (Two month Back) x MVCA Charge | Pre Paid Voucher Online get 1% benefit | =Rs 5 /No of Calender Days
| (kWh) |  |  | Date | (kVA) | Voucher |  |  | TOU1 Normal Time | TOU2 Peak Time | TOU3 Off-Peak Time |  |  |  |  | 0
| 3.2258 |  |  | 2025-08-01 | 7 |  | 2025-08-01 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -257.6292
| 3.2258 |  |  | 2025-08-02 | 7 |  | 2025-08-02 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -515.2584
| 3.2258 |  |  | 2025-08-03 | 7 |  | 2025-08-03 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -772.8876
| 3.2258 |  |  | 2025-08-04 | 7 |  | 2025-08-04 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -1030.5168
| 3.2258 |  |  | 2025-08-05 | 7 |  | 2025-08-05 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -1288.146
| 3.2258 |  |  | 2025-08-06 | 7 |  | 2025-08-06 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -1545.7752
| 3.2258 |  |  | 2025-08-07 | 7 |  | 2025-08-07 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -1803.4044
| 3.2258 |  |  | 2025-08-08 | 7 |  | 2025-08-08 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -2061.0336
| 3.2258 |  |  | 2025-08-09 | 7 |  | 2025-08-09 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -2318.6628
| 3.2258 |  |  | 2025-08-10 | 7 |  | 2025-08-10 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -2576.292
| 3.2258 |  |  | 2025-08-11 | 7 |  | 2025-08-11 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -2833.9212
| 3.2258 |  |  | 2025-08-12 | 7 |  | 2025-08-12 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -3091.5504
| 3.2258 |  |  | 2025-08-13 | 28 |  | 2025-08-13 | 27 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -3369.4376
| 3.2258 |  |  | 2025-08-14 | 7 |  | 2025-08-14 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -3627.0668
| 3.2258 |  |  | 2025-08-15 | 7 |  | 2025-08-15 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -3884.696
| 3.2258 |  |  | 2025-08-16 | 7 |  | 2025-08-16 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -4142.3252
| 3.2258 |  |  | 2025-08-17 | 7 |  | 2025-08-17 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -4399.9544
| 3.2258 |  |  | 2025-08-18 | 7 |  | 2025-08-18 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -4657.5836
| 3.2258 |  |  | 2025-08-19 | 7 |  | 2025-08-19 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -4915.2128
| 3.2258 |  |  | 2025-08-20 | 7 |  | 2025-08-20 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -5172.842
| 3.2258 |  |  | 2025-08-21 | 7 |  | 2025-08-21 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -5430.4712
| 3.2258 |  |  | 2025-08-22 | 7 |  | 2025-08-22 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -5688.1004
| 3.2258 |  |  | 2025-08-23 | 7 |  | 2025-08-23 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -5945.7296
| 3.2258 |  |  | 2025-08-24 | 7 |  | 2025-08-24 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -6203.3588
| 3.2258 |  |  | 2025-08-25 | 7 |  | 2025-08-25 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -6460.988
| 3.2258 |  |  | 2025-08-26 | 7 |  | 2025-08-26 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -6718.6172
| 3.2258 |  |  | 2025-08-27 | 7 |  | 2025-08-27 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -6976.2464
| 3.2258 |  |  | 2025-08-28 | 7 |  | 2025-08-28 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -7233.8756
| 3.2258 |  |  | 2025-08-29 | 7 |  | 2025-08-29 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -7491.5048
| 3.2258 |  |  | 2025-08-30 | 7 |  | 2025-08-30 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -7749.134
| 3.2258 |  |  | 2025-08-31 | 7 |  | 2025-08-31 | 6.7419 | 64.4516 | 94.7097 | 90.1613 | 1.5646 | 0.1613 | 0 | 0.16129 | -8006.7632 | -9650.3193
[9 empty] | Daily Cal | End of Month reconcille
[7 empty] | Fixed Charges |  | 229.2581 | 607.7419
[7 empty] | Energy Charges |  | 7729
[7 empty] | Diff ECR |  | 48.5026
[7 empty] | MVCA |  | 5.0003
[7 empty] | ED |  |  | 928
[7 empty] | Addl Demand Charges |  |  | 107.8142
[7 empty] | Voucher Recharge |  | 0
[7 empty] | Ebill |  | -5
[7 empty] | Gross Bill |  | 8006.761 | 1643.5561 | 9650.3171
Formulas:
Value = DAY(EOMONTH([Value, row above],0))
Details = [Details, row above]+1

## Addl MD Cal-Sample
Sample Calculation
|  |  |  | Heads | Value | Details
|  |  |  | Addl Demand Charges | 30 | Rs /Per KVA
Energy charges (TOU)
|  |  |  | Month | 2025-08-01
|  |  |  | No. of Days | 31
|  |  |  | No. of Hours | 744
|  |  |  | ΣHi (Total restriction/load-shedding hours): | 1.28
|  |  |  | Computed Demand Charge | 838.5548
|  |  |  | Multiplying Factor | 0.99828
|  |  |  | Variables | KVA
|  |  |  | Contract Demand | 10
|  |  | Off Peak | Case 3a | 10.0001 | 13 | 130%
|  |  | Off Peak | Case 3b | 13.0001 | 15 | 150%
|  |  | Off Peak | Case 3c | 15.0001 |  | >150% | Maximum MD | 28
[8 empty] | Demand Charges | 837
Instantenous
Date | TOU1 Normal Time (Addl MD) | TOU2 Peak Time (Addl MD) | TOU3 Off-Peak Time (Addl MD) |  | Slab TOU | Case if (Off Peak Time) | Addl MD Calculation (kVA) | Test Result and Daily to match the overal Higest Value
2025-08-01 | [7 empty] | Normal Time |  | 108 | 28
2025-08-02 | [7 empty] | Peak Time |  | 60 | 14
2025-08-03 | [7 empty] | Off-Peak Time | Case 3c | 36.9 | 20
2025-08-04
2025-08-05
2025-08-06 | [8 empty] | HIGHEST OF CASE 1, CASE 2 & CASE 3 | 108
2025-08-07 | [8 empty] | Multiplying Factor | 0.99828
2025-08-08 | [8 empty] | Net additional demand Charge | 107.8142
2025-08-09
2025-08-10 |  | 14 |  |  | Peak Time |  | 14
2025-08-11
2025-08-12 |  |  | 20 |  | Off-Peak Time | Case 3c | 20
2025-08-13 | 28 |  |  |  | Normal Time |  | 28
2025-08-14
2025-08-15
2025-08-16
2025-08-17
2025-08-18
2025-08-19
2025-08-20
2025-08-21
2025-08-22
2025-08-23
2025-08-24
2025-08-25
2025-08-26
2025-08-27
2025-08-28
2025-08-29
2025-08-30
2025-08-31
Formulas:
Value = DAY(EOMONTH([Value, row above],0))
Date = [Date, row above]+1

## ED Cal_Sample
|  |  |  | Month: | 2025-08-01
[7 empty] | TOU1 | TOU2 | TOU3
[7 empty] | Normal Time | Peak Time | Off-Peak Time
[7 empty] | 6:00 | 17:30 | 23:30
[7 empty] | 17:00 | 23:00 | 5:30
[6 empty] | Month start date | 2025-08-01 | 2025-08-01 | 2025-08-01
[6 empty] | Month End date | 2025-08-31 | 2025-08-31 | 2025-08-31
[6 empty] | Intial Reading | 100 | 200 | 100
[6 empty] | Final Reading | 400 | 600 | 600
[6 empty] | Energy Consumption | 300 | 400 | 500 | 1200
[6 empty] | Energy Charges | 1998 | 2936 | 2795 | 7729
[6 empty] | Energy Charges | 7729
[6 empty] | Demand Charges | 837
[6 empty] | Addl MD | 107.8142
[6 empty] | Diff ECR | 48.5026
[6 empty] | MVCA | 5.0003
[6 empty] | Gross Amount | 8727.3171
Energy Duty (ED)
Slab Number | Unit From | Unit To | %age |  |  | ED Calculation
1 | 0 | 150 | 0% |  |  | Units | 150 | 0
2 | 151 | 500 | 10% |  |  | Units | 350 | 255
3 | 501 | 1000 | 12.5% |  |  | Units | 500 | 455
4 | 1001 | Max | 15% |  |  | Units | 200 | 218
[7 empty] | 1200 | 928