## Scenario 1
Scenario 1: | Actual Daily Consumption of kW is less than 50% of Contract Demand
Sample Calculation
| Heads | Value | Details
| Santioned | 10 | KVA
| Fixed charges | 150 | Rs/ kW on unit consumption with a condition if CD exceeds 50% of CD or MD whichever is higher per month, then all days caculation will be on max value
| Energy charges | 4.3 | Rs/ kWh on unit consumption
| FPPAS ( Fuel & Power Production Adjustment Surcharge) | 0.66 | DVC would provide by end of every month and this would be forward calculation for next month
| Rebate | 3% | % on Energy Charge
| ED ( Energy Duty) | 6% | %age flat on [(EC +FPPAS) ]
| Penalty | 1.5 | 110% of Contract Demand
| Month | 2025-08-01
| No. of Days | 31
| Variables | kVA | kW
| 50% of Contract Demand | 5 | 4.25
| Contract Demand | 10 | 8.5
| 110% of Contract Demand | 11 | 9.35
Sample Daily Consumption Data for June'25
|  | No. of Hrs | 24 |  |  |  | Daily charge Calculation
|  | Power Factor | 0.85
[8 empty] | Fixed Charges in Rs | Energy Charge in Rs | FPPAS Charges | Energy Duty | Rebate | Penalty | Opening Balance
Daily Profile |  |  | Daily Profile | Instantenous Profile | Contract Demand in kW | Formula |  | =kW x (Fixed Charge per kW/ No of calender days) | =kwh x Energy Charges | =kwh x FPPAS Charge | =ED % x (Energy Charge+FPPAS Charge) | =Rebate% x Energy Charge | =if (kw>=110% of Contract Demand , 1.5 x Energy Charges x (Maximum Demand - Contract Demand)
July (kWh) Sample |  | Date | (kWh) Sample | (kW) Sample | Calculation (kW) | [8 empty] | 0
41.5 |  | 2025-08-01 | 45 | 1.875 | 1.875 |  | 2025-08-01 | 9.0726 | 193.5 | 27.39 | 13.2534 | -5.805 | 0 | -237.411
51.5 |  | 2025-08-02 | 55 | 2.2917 | 2.2917 |  | 2025-08-02 | 11.0888 | 236.5 | 33.99 | 16.2294 | -7.095 | 0 | -528.1242
68.5 |  | 2025-08-03 | 72 | 3 | 3 |  | 2025-08-03 | 14.5162 | 309.6 | 45.21 | 21.2886 | -9.288 | 0 | -909.451
81.5 |  | 2025-08-04 | 85 | 3.5417 | 3.5417 |  | 2025-08-04 | 17.1371 | 365.5 | 53.79 | 25.1574 | -10.965 | 0 | -1360.0705
61.5 |  | 2025-08-05 | 65 | 2.7083 | 2.7083 |  | 2025-08-05 | 13.1049 | 279.5 | 40.59 | 19.2054 | -8.385 | 0 | -1704.0858
78.5 |  | 2025-08-06 | 82 | 3.4167 | 3.4167 |  | 2025-08-06 | 16.5323 | 352.6 | 51.81 | 24.2646 | -10.578 | 0 | -2138.7147
71.5 |  | 2025-08-07 | 75 | 3.125 | 3.125 |  | 2025-08-07 | 15.121 | 322.5 | 47.19 | 22.1814 | -9.675 | 0 | -2536.0321
91.5 |  | 2025-08-08 | 95 | 3.9583 | 3.9583 |  | 2025-08-08 | 19.1533 | 408.5 | 60.39 | 28.1334 | -12.255 | 0 | -3039.9538
84.5 |  | 2025-08-09 | 88 | 3.6667 | 3.6667 |  | 2025-08-09 | 17.742 | 378.4 | 55.77 | 26.0502 | -11.352 | 0 | -3506.564
93.5 |  | 2025-08-10 | 98 | 4.0833 | 4.0833 |  | 2025-08-10 | 19.7581 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -4025.7767
90.5 |  | 2025-08-11 | 95 | 3.9583 | 3.9583 |  | 2025-08-11 | 19.1533 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -4528.9988
70.5 |  | 2025-08-12 | 75 | 3.125 | 3.125 |  | 2025-08-12 | 15.121 | 322.5 | 46.53 | 22.1418 | -9.675 | 0 | -4925.6166
60.5 |  | 2025-08-13 | 65 | 2.7083 | 2.7083 |  | 2025-08-13 | 13.1049 | 279.5 | 39.93 | 19.1658 | -8.385 | 0 | -5268.9323
70.5 |  | 2025-08-14 | 75 | 3.125 | 3.125 |  | 2025-08-14 | 15.121 | 322.5 | 46.53 | 22.1418 | -9.675 | 0 | -5665.5501
90.5 |  | 2025-08-15 | 95 | 3.9583 | 3.9583 |  | 2025-08-15 | 19.1533 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -6168.7722
80.5 |  | 2025-08-16 | 85 | 3.5417 | 3.5417 |  | 2025-08-16 | 17.1371 | 365.5 | 53.13 | 25.1178 | -10.965 | 0 | -6618.6921
83.5 |  | 2025-08-17 | 88 | 3.6667 | 3.6667 |  | 2025-08-17 | 17.742 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -7084.6027
93.5 |  | 2025-08-18 | 98 | 4.0833 | 4.0833 |  | 2025-08-18 | 19.7581 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -7603.8154
90.5 |  | 2025-08-19 | 95 | 4.25 | 4.25 |  | 2025-08-19 | 20.5646 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -8108.4488
93.5 |  | 2025-08-20 | 98 | 4.0833 | 4.0833 |  | 2025-08-20 | 19.7581 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -8627.6615
83.5 |  | 2025-08-21 | 88 | 3.6667 | 3.6667 |  | 2025-08-21 | 17.742 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -9093.5721
75.5 |  | 2025-08-22 | 78 | 3.25 | 3.25 |  | 2025-08-22 | 15.7259 | 335.4 | 49.83 | 23.1138 | -10.062 | 0 | -9507.5798
87.5 |  | 2025-08-23 | 90 | 3.75 | 3.75 |  | 2025-08-23 | 18.1452 | 387 | 57.75 | 26.685 | -11.61 | 0 | -9985.55
87.5 |  | 2025-08-24 | 90 | 3.75 | 3.75 |  | 2025-08-24 | 18.1452 | 387 | 57.75 | 26.685 | -11.61 | 0 | -10463.5202
85.5 |  | 2025-08-25 | 88 | 3.6667 | 3.6667 |  | 2025-08-25 | 17.742 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -10930.83
92.5 |  | 2025-08-26 | 95 | 3.9583 | 3.9583 |  | 2025-08-26 | 19.1533 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -11435.4513
95.5 |  | 2025-08-27 | 98 | 4.0833 | 4.0833 |  | 2025-08-27 | 19.7581 | 421.4 | 63.03 | 29.0658 | -12.642 | 0 | -11956.0632
98.5 |  | 2025-08-28 | 101 | 4.2083 | 4.2083 |  | 2025-08-28 | 20.363 | 434.3 | 65.01 | 29.9586 | -13.029 | 0 | -12492.6658
85.5 |  | 2025-08-29 | 88 | 3.6667 | 3.6667 |  | 2025-08-29 | 17.742 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -12959.9756
92.5 |  | 2025-08-30 | 95 | 3.9583 | 3.9583 |  | 2025-08-30 | 19.1533 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -13464.5969
92.5 |  | 2025-08-31 | 95 | 3.9583 | 3.9583 |  | 2025-08-31 | 19.1533 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -13969.2182
[7 empty] | Fixed Charges |  | 532.663
[7 empty] | Energy Charges |  | 11330.5
[7 empty] | FPPS |  | 1666.17
[7 empty] | ED |  | 779.8002
[7 empty] | Rebate |  | -339.915
[7 empty] | Penalty |  | 0
[7 empty] | Gross Bill |  | 13969.2182
Formulas:
Value = DAY(EOMONTH([Value, row above],0))
Value = [Value, row above]+1

## Scenario 2
Scenario 2: | Actual Daily Consumption of kW is more than 50% of Contract Demand but less than 110% contract Demand
Sample Calculation
| Heads | Value | Details
| Santioned | 10 | KVA
| Fixed charges | 150 | Rs/ kW on unit consumption with a condition if CD exceeds 50% of CD or MD whichever is higher per month, then all days caculation will be on max value
| Energy charges | 4.3 | Rs/ kWh on unit consumption
| FPPAS ( Fuel & Power Production Adjustment Surcharge) | 0.66 | DVC would provide by end of every month and this would be forward calculation for next month
| Rebate | 3% | % on Energy Charge
| ED ( Energy Duty) | 6% | %age flat on [(EC +FPPAS) ]
| Penalty | 1.5 | 110% of Contract Demand
| Month | 2025-08-01
| No. of Days | 31
| Variables | kVA | kW
| 50% of Contract Demand | 5 | 4.25
| Contract Demand | 10 | 8.5
| 110% of Contract Demand | 11 | 9.35
Sample Daily Consumption Data for June'25
|  | No. of Hrs | 24 |  |  |  | Daily charge Calculation
|  | Power Factor | 0.85
[8 empty] | Fixed Charges in Rs | Energy Charge in Rs | FPPAS Charges | Energy Duty | Rebate | Penalty | Opening Balance
Daily Profile |  |  | Daily Profile | Instantenous Profile | Contract Demand in kW | Formula |  | =kW x (Fixed Charge per kW/ No of calender days) | =kwh x Energy Charges | =kwh x FPPAS Charge | =ED % x (Energy Charge+FPPAS Charge) | =Rebate% x Energy Charge | =if (kw>=110% of Contract Demand , 1.5 x Energy Charges x (Maximum Demand - Contract Demand)
July (kWh) Sample |  | Date | (kWh) Sample | (kW) Sample | Calculation (kW) | [8 empty] | 0
41.5 |  | 2025-08-01 | 45 | 1.875 | 8.45 |  | 2025-08-01 | 40.8871 | 193.5 | 27.39 | 13.2534 | -5.805 | 0 | -269.2255 | -31.8145
51.5 |  | 2025-08-02 | 55 | 2.2917 | 8.45 |  | 2025-08-02 | 40.8871 | 236.5 | 33.99 | 16.2294 | -7.095 | 0 | -589.737 | -61.6128
68.5 |  | 2025-08-03 | 72 | 3 | 8.45 |  | 2025-08-03 | 40.8871 | 309.6 | 45.21 | 21.2886 | -9.288 | 0 | -997.4347 | -87.9837
81.5 |  | 2025-08-04 | 85 | 3.5417 | 8.45 |  | 2025-08-04 | 40.8871 | 365.5 | 53.79 | 25.1574 | -10.965 | 0 | -1471.8042 | -111.7337
61.5 |  | 2025-08-05 | 65 | 2.7083 | 8.45 |  | 2025-08-05 | 40.8871 | 279.5 | 40.59 | 19.2054 | -8.385 | 0 | -1843.6017 | -139.5159
78.5 |  | 2025-08-06 | 82 | 8.25 | 8.45 |  | 2025-08-06 | 40.8871 | 352.6 | 51.81 | 24.2646 | -10.578 | 0 | -2302.5854
71.5 |  | 2025-08-07 | 75 | 3.125 | 8.45 |  | 2025-08-07 | 40.8871 | 322.5 | 47.19 | 22.1814 | -9.675 | 0 | -2725.6689
91.5 |  | 2025-08-08 | 95 | 3.9583 | 8.45 |  | 2025-08-08 | 40.8871 | 408.5 | 60.39 | 28.1334 | -12.255 | 0 | -3251.3244
84.5 |  | 2025-08-09 | 88 | 8.35 | 8.45 |  | 2025-08-09 | 40.8871 | 378.4 | 55.77 | 26.0502 | -11.352 | 0 | -3741.0797
93.5 |  | 2025-08-10 | 98 | 4.0833 | 8.45 |  | 2025-08-10 | 40.8871 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -4281.4214
90.5 |  | 2025-08-11 | 95 | 3.9583 | 8.45 |  | 2025-08-11 | 40.8871 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -4806.3773
70.5 |  | 2025-08-12 | 75 | 3.125 | 8.45 |  | 2025-08-12 | 40.8871 | 322.5 | 46.53 | 22.1418 | -9.675 | 0 | -5228.7612
60.5 |  | 2025-08-13 | 65 | 2.7083 | 8.45 |  | 2025-08-13 | 40.8871 | 279.5 | 39.93 | 19.1658 | -8.385 | 0 | -5599.8591
70.5 |  | 2025-08-14 | 75 | 3.125 | 8.45 |  | 2025-08-14 | 40.8871 | 322.5 | 46.53 | 22.1418 | -9.675 | 0 | -6022.243
90.5 |  | 2025-08-15 | 95 | 3.9583 | 8.45 |  | 2025-08-15 | 40.8871 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -6547.1989
80.5 |  | 2025-08-16 | 85 | 3.5417 | 8.45 |  | 2025-08-16 | 40.8871 | 365.5 | 53.13 | 25.1178 | -10.965 | 0 | -7020.8688
83.5 |  | 2025-08-17 | 88 | 3.6667 | 8.45 |  | 2025-08-17 | 40.8871 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -7509.9245
93.5 |  | 2025-08-18 | 98 | 4.0833 | 8.45 |  | 2025-08-18 | 40.8871 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -8050.2662
90.5 |  | 2025-08-19 | 95 | 8.45 | 8.45 |  | 2025-08-19 | 40.8871 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -8575.2221
93.5 |  | 2025-08-20 | 98 | 4.0833 | 8.45 |  | 2025-08-20 | 40.8871 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -9115.5638
83.5 |  | 2025-08-21 | 88 | 3.6667 | 8.45 |  | 2025-08-21 | 40.8871 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -9604.6195
75.5 |  | 2025-08-22 | 78 | 3.25 | 8.45 |  | 2025-08-22 | 40.8871 | 335.4 | 49.83 | 23.1138 | -10.062 | 0 | -10043.7884
87.5 |  | 2025-08-23 | 90 | 3.75 | 8.45 |  | 2025-08-23 | 40.8871 | 387 | 57.75 | 26.685 | -11.61 | 0 | -10544.5005
87.5 |  | 2025-08-24 | 90 | 3.75 | 8.45 |  | 2025-08-24 | 40.8871 | 387 | 57.75 | 26.685 | -11.61 | 0 | -11045.2126
85.5 |  | 2025-08-25 | 88 | 3.6667 | 8.45 |  | 2025-08-25 | 40.8871 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -11535.6675
92.5 |  | 2025-08-26 | 95 | 3.9583 | 8.45 |  | 2025-08-26 | 40.8871 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -12062.0226
95.5 |  | 2025-08-27 | 98 | 4.0833 | 8.45 |  | 2025-08-27 | 40.8871 | 421.4 | 63.03 | 29.0658 | -12.642 | 0 | -12603.7635
98.5 |  | 2025-08-28 | 101 | 4.2083 | 8.45 |  | 2025-08-28 | 40.8871 | 434.3 | 65.01 | 29.9586 | -13.029 | 0 | -13160.8902
85.5 |  | 2025-08-29 | 88 | 3.6667 | 8.45 |  | 2025-08-29 | 40.8871 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -13651.3451
92.5 |  | 2025-08-30 | 95 | 3.9583 | 8.45 |  | 2025-08-30 | 40.8871 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -14177.7002
92.5 |  | 2025-08-31 | 95 | 3.9583 | 8.45 |  | 2025-08-31 | 40.8871 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -14704.0553
[7 empty] | Fixed Charges |  | 1267.5001
[7 empty] | Energy Charges |  | 11330.5
[7 empty] | FPPS |  | 1666.17
[7 empty] | ED |  | 779.8002
[7 empty] | Rebate |  | -339.915
[7 empty] | Penalty |  | 0
[7 empty] | Gross Bill |  | 14704.0553
Formulas:
Value = DAY(EOMONTH([Value, row above],0))
Value = [Value, row above]+1

## Scenario 3
Scenario 3: | Actual Daily Consumption of kW is more than 110% Contract Demand
Sample Calculation
| Heads | Value | Details
| Santioned | 10 | KVA
| Fixed charges | 150 | Rs/ kW on unit consumption with a condition if CD exceeds 50% of CD or MD whichever is higher per month, then all days caculation will be on max value
| Energy charges | 4.3 | Rs/ kWh on unit consumption
| FPPAS ( Fuel & Power Production Adjustment Surcharge) | 0.66 | DVC would provide by end of every month and this would be forward calculation for next month
| Rebate | 3% | % on Energy Charge
| ED ( Energy Duty) | 6% | %age flat on [(EC +FPPAS) ]
| Penalty | 1.5 | 110% of Contract Demand
| Month | 2025-08-01
| No. of Days | 31
| Variables | kVA | kW
| 50% of Contract Demand | 5 | 4.25
| Contract Demand | 10 | 8.5
| 110% of Contract Demand | 11 | 9.35
Sample Daily Consumption Data for June'25
|  | No. of Hrs | 24 |  |  |  | Daily charge Calculation
|  | Power Factor | 0.85
[8 empty] | Fixed Charges in Rs | Energy Charge in Rs | FPPAS Charges | Energy Duty | Rebate | Penalty | Opening Balance
Daily Profile |  |  | Daily Profile | Instantenous Profile | Contract Demand in kW | Formula |  | =kW x (Fixed Charge per kW/ No of calender days) | =kwh x Energy Charges | =kwh x FPPAS Charge | =ED % x (Energy Charge+FPPAS Charge) | =Rebate% x Energy Charge | =if (kw>=110% of Contract Demand , 1.5 x Energy Charges x (Maximum Demand - Contract Demand)
July (kWh) Sample |  | Date | (kWh) Sample | (kW) Sample | Calculation (kW) | [8 empty] | 0
41.5 |  | 2025-08-01 | 45 | 1.875 | 8.5 |  | 2025-08-01 | 41.1291 | 193.5 | 27.39 | 13.2534 | -5.805 | 0 | -269.4675 | -32.0565
51.5 |  | 2025-08-02 | 55 | 2.2917 | 8.5 |  | 2025-08-02 | 41.1291 | 236.5 | 33.99 | 16.2294 | -7.095 | 0 | -590.221 | -62.0968
68.5 |  | 2025-08-03 | 72 | 3 | 8.5 |  | 2025-08-03 | 41.1291 | 309.6 | 45.21 | 21.2886 | -9.288 | 0 | -998.1607 | -88.7097
81.5 |  | 2025-08-04 | 85 | 3.5417 | 8.5 |  | 2025-08-04 | 41.1291 | 365.5 | 53.79 | 25.1574 | -10.965 | 0 | -1472.7722 | -112.7017
61.5 |  | 2025-08-05 | 65 | 2.7083 | 8.5 |  | 2025-08-05 | 41.1291 | 279.5 | 40.59 | 19.2054 | -8.385 | 0 | -1844.8117 | -140.7259
78.5 |  | 2025-08-06 | 82 | 11.67 | 8.5 |  | 2025-08-06 | 41.1291 | 352.6 | 51.81 | 24.2646 | -10.578 | 713.25 | -3017.2874
71.5 |  | 2025-08-07 | 75 | 3.125 | 8.5 |  | 2025-08-07 | 41.1291 | 322.5 | 47.19 | 22.1814 | -9.675 | 0 | -3440.6129
91.5 |  | 2025-08-08 | 95 | 3.9583 | 8.5 |  | 2025-08-08 | 41.1291 | 408.5 | 60.39 | 28.1334 | -12.255 | 0 | -3966.5104
84.5 |  | 2025-08-09 | 88 | 3.6667 | 8.5 |  | 2025-08-09 | 41.1291 | 378.4 | 55.77 | 26.0502 | -11.352 | 0 | -4456.5077
93.5 |  | 2025-08-10 | 98 | 4.0833 | 8.5 |  | 2025-08-10 | 41.1291 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -4997.0914
90.5 |  | 2025-08-11 | 95 | 3.9583 | 8.5 |  | 2025-08-11 | 41.1291 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -5522.2893
70.5 |  | 2025-08-12 | 75 | 3.125 | 8.5 |  | 2025-08-12 | 41.1291 | 322.5 | 46.53 | 22.1418 | -9.675 | 0 | -5944.9152
60.5 |  | 2025-08-13 | 65 | 2.7083 | 8.5 |  | 2025-08-13 | 41.1291 | 279.5 | 39.93 | 19.1658 | -8.385 | 0 | -6316.2551
70.5 |  | 2025-08-14 | 75 | 12.856 | 8.5 |  | 2025-08-14 | 41.1291 | 322.5 | 46.53 | 22.1418 | -9.675 | 980.1 | -7718.981
90.5 |  | 2025-08-15 | 95 | 3.9583 | 8.5 |  | 2025-08-15 | 41.1291 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -8244.1789
80.5 |  | 2025-08-16 | 85 | 3.5417 | 8.5 |  | 2025-08-16 | 41.1291 | 365.5 | 53.13 | 25.1178 | -10.965 | 0 | -8718.0908
83.5 |  | 2025-08-17 | 88 | 3.6667 | 8.5 |  | 2025-08-17 | 41.1291 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -9207.3885
93.5 |  | 2025-08-18 | 98 | 4.0833 | 8.5 |  | 2025-08-18 | 41.1291 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -9747.9722
90.5 |  | 2025-08-19 | 95 | 4.25 | 8.5 |  | 2025-08-19 | 41.1291 | 408.5 | 59.73 | 28.0938 | -12.255 | 0 | -10273.1701
93.5 |  | 2025-08-20 | 98 | 4.0833 | 8.5 |  | 2025-08-20 | 41.1291 | 421.4 | 61.71 | 28.9866 | -12.642 | 0 | -10813.7538
83.5 |  | 2025-08-21 | 88 | 3.6667 | 8.5 |  | 2025-08-21 | 41.1291 | 378.4 | 55.11 | 26.0106 | -11.352 | 0 | -11303.0515
75.5 |  | 2025-08-22 | 78 | 3.25 | 8.5 |  | 2025-08-22 | 41.1291 | 335.4 | 49.83 | 23.1138 | -10.062 | 0 | -11742.4624
87.5 |  | 2025-08-23 | 90 | 3.75 | 8.5 |  | 2025-08-23 | 41.1291 | 387 | 57.75 | 26.685 | -11.61 | 0 | -12243.4165
87.5 |  | 2025-08-24 | 90 | 3.75 | 8.5 |  | 2025-08-24 | 41.1291 | 387 | 57.75 | 26.685 | -11.61 | 0 | -12744.3706
85.5 |  | 2025-08-25 | 88 | 3.6667 | 8.5 |  | 2025-08-25 | 41.1291 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -13235.0675
92.5 |  | 2025-08-26 | 95 | 3.9583 | 8.5 |  | 2025-08-26 | 41.1291 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -13761.6646
95.5 |  | 2025-08-27 | 98 | 4.0833 | 8.5 |  | 2025-08-27 | 41.1291 | 421.4 | 63.03 | 29.0658 | -12.642 | 0 | -14303.6475
98.5 |  | 2025-08-28 | 101 | 4.2083 | 8.5 |  | 2025-08-28 | 41.1291 | 434.3 | 65.01 | 29.9586 | -13.029 | 0 | -14861.0162
85.5 |  | 2025-08-29 | 88 | 3.6667 | 8.5 |  | 2025-08-29 | 41.1291 | 378.4 | 56.43 | 26.0898 | -11.352 | 0 | -15351.7131
92.5 |  | 2025-08-30 | 95 | 3.9583 | 8.5 |  | 2025-08-30 | 41.1291 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -15878.3102
92.5 |  | 2025-08-31 | 95 | 3.9583 | 8.5 |  | 2025-08-31 | 41.1291 | 408.5 | 61.05 | 28.173 | -12.255 | 0 | -16404.9073
[7 empty] | Fixed Charges |  | 1275.0021
[7 empty] | Energy Charges |  | 11330.5
[7 empty] | FPPS |  | 1666.17
[7 empty] | ED |  | 779.8002
[7 empty] | Rebate |  | -339.915
[7 empty] | Penalty |  | 1693.35
[7 empty] | Gross Bill |  | 16404.9073
Formulas:
Value = DAY(EOMONTH([Value, row above],0))
Value = [Value, row above]+1