## TOD
Sample Calculation of Additional Demand Charge in west Bengal for consumer (TOD)
Additional demand Charge Calculation as per WBERC regulation 2011
| Dcont (Sanctioned Contract Demand of the consumer) : | 6800
| DC (Demand Charge) : | 384
TOU2 | DactP (Actual highest demand of power during peak period) : | 9146
TOU3 | DactOP(Actual highest demand of power during off-peak period) : | 9174
TOU1 | DactN (Actual highest Demand of power in Normal time period) : | 9202
| H (Total hours in month) | 720
| ΣHi (Total restriction/load-shedding hours): | 1.28
| CASE 1 highest demand during normal period exceeds the contract demand (ADCED = 0.2 × (DactN – Dcont) × DC ): | 184473.6
| CASE 2 : highest demand during peak period exceeds the contract demand ADCED = 0.5 × (DactP – Dcont) x DC | 450432
| CASE 3: (ANY ONE OF BELOW) | 20659.2
| DactOP/Dcont | 1.3491
| A)When DactOP>Dcont and DactOP≤ 1.3 × Dcont ADCED = 0.01 × (DactOP – Dcont) × DC | 0
| B) When DactOP > 1.3 × Dcont and DactOP ≤ 1.5 × Dcont ADCED = [0.01 × 0.3 x Dcont + 0.1 × (DactOP – 1.3 × Dcont)] × DC | 20659.2
| C) When DactOP > 1.5 × Dcont ADCED = [0.01 × 0.3 x Dcont + 0.1 x 0.2 × Dcont + 0.2 × (DactOP–1.5 × Dcont)] × DC | 0
| HIGHEST OF CASE 1, CASE 2 & CASE 3 | 450432
| MD | 9202
| DC | 384
Applicable rate of demand charge for a consumer.DCA =
| DC=DCA x {(H-∑Hi) X MD + ∑(Hi x Rdi)}/H | 3527286.1013
where
DC=Computed Demand Charge applicable to a consumer for billing period
DCA= Applicable rate of Demand charge for a consumer
H = Total hours in the billing period
Hi = The duration involved for the incidence of interruption / total shed/partial restriction in supplying power to the consumer which is not to be
MD = Maximum Demand considered for levying demand charge as per regulation 4.3.5
Rdi = restricted load imposed on the consumer corresponding to the ith incidence or actual drawal during the period of such restrictions whichever is higher.
| Multiplying factor=DC/(MD X DCA) | 0.99822
| Therefore Net additional demand Charge payable to consumer Sumangal Ispat Pvt Ltd(Cons. ID: 44285) for the Month of June, 2024 | 449631.232

## NON-TOD
Additional Demand charge calculation for Non-TOD consumer (As Per WBERC regulation 2011)
If the highest demand of any non-TOD consumer recorded in a month exceeds his contract demand, he shall be liable to pay demand charge at the applicable rate for that non-TOD consumer in question. In addition, he will be also liable to pay an additional demand charge at the rate of 60% of the demand charge for the additional demand being the difference between the recorded highest demand and his contract demand. Excess energy drawal corresponding to the aforesaid excess demand shall be billed at the rate of energy charge applicable for such consumer
Additional demand Charge Calculation as per WBERC regulation 2011
Consumer No: 490342, Billing Month: September 2024
Dcont (Sanctioned Contract Demand of the consumer) : | 2000
DC (Demand Charge) : | 384
Dact (Actual highest demand of power period) : | 2082
Additional demand Charge | 18892.8
90

## PF Rebate & Surcharge (hidden)
As per Tariff Order of DVC for the year 2016 – 2017 (Page No: 14)
Power Factor Rebate & Surcharge on Energy Charge in Percentage
| power Factor (PF) Range in % | For Consumers under TOD Tariff | [5 empty] | For Consumers under non-TOD Tariff
|  | Normal Period |  | Peak Period |  | Off-peak period
|  | Rebate in % | Surcharge in % | Rebate in % | Surcharge in % | Rebate in % | Surcharge in % | Rebate in % | Surcharge in %
| PF > 99% | 8 | 0 | 9 | 0 | 7 | 0 | 5 | 0
| PF > 98% & PF < 99% | 7 | 0 | 8 | 0 | 6 | 0 | 4 | 0
| PF > 97% & PF < 98% | 4 | 0 | 6 | 0 | 4 | 0 | 3 | 0
| PF > 96% & PF < 97% | 3 | 0 | 5 | 0 | 3 | 0 | 2.5 | 0
| PF > 95% & PF < 96% | 2.25 | 0 | 4 | 0 | 2 | 0 | 2 | 0
| PF > 94% & PF < 95% | 2.25 | 0 | 3 | 0 | 1.5 | 0 | 1.5 | 0
| PF > 93% & PF < 94% | 1.5 | 0 | 2 | 0 | 1 | 0 | 1 | 0
| PF > 92% & PF < 93% | 0.75 | 0 | 1 | 0 | 0.5 | 0 | 0.5 | 0
| PF > 86% & PF < 92% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PF > 85% & PF < 86% | 0 | 0.75 | 0 | 1 | 0 | 0.5 | 0 | 0.5
| PF > 84% & PF < 85% | 0 | 1.5 | 0 | 2 | 0 | 1 | 0 | 1
| PF > 83% & PF < 84% | 0 | 2.25 | 0 | 3 | 0 | 1.5 | 0 | 1.5
| PF > 82% & PF < 83% | 0 | 3 | 0 | 4 | 0 | 2 | 0 | 2
| PF > 81% & PF < 82% | 0 | 4 | 0 | 5 | 0 | 3 | 0 | 2.5
| PF > 80% & PF < 81% | 0 | 5 | 0 | 6 | 0 | 4 | 0 | 3
| PF < 80% | 0 | 6 | 0 | 7 | 0 | 5 | 0 | 3.5

## Demand Charge
WBERC-2011 Page No-60
Demand Charge= | DCA | (H – ΣHi) × MD + Σ(Hi × RDi)
H
Where
DC = Computed Demand Charge applicable to a consumer for billing period
DCA = Applicable rate of demand charge for a consumer.
H = Total hours in the billing period.
Hi = The duration involved for ith incidence of interruption / total shed / partial restriction
in supplying power to the consumer which is not to be considered as per this
regulation.
MD = Maximum Demand considered for levying demand charge as per regulation 4.3.5.
RDi = Restricted load imposed on the consumer corresponding to ith incidence or actual
drawal during the period of such restriction whichever is higher.
1631451.6129

## LF Rebate & Surcharge
Tariff Order of DVC for the year 2016 – 2017
3.4.1.2 | The above load factor rebate shall be applicable on quantum of energy consumed in the billing period. (For example a 33 kV industrial consumer at 85% load factor shall be eligible for a rebate @ 8 paise / kWh on the total quantum of energy consumed in the billing period).
3.4.1.3 | Load factor surcharge shall be levied on HV industrial and HV commercial consumers if the load factor falls below 30%. The surcharge for the load factor less than 30% but equal to or above 25% shall be 5 paise / kWh for the amount of energy by which consumption falls short of energy corresponding to a load factor of 30%. The surcharge for the load factor below 25% shall be 10 paise / kWh and shall be applicable only for the amount of energy by which the West Bengal Electricity Regulatory Commission 12 consumption falls short of energy corresponding to a load factor of 25% but not less than the amount of surcharge that would have been payable for load factor at 25% computed @ 5 paise / kWh. (For example, a HV industrial or commercial consumer at 28% load factor shall be liable to pay surcharge @ 5 paise / kWh on the quantum of energy to be consumed at 30% load factor minus total energy consumed in the billing period. Similarly, a HV industrial or commercial consumer at 24% load factor shall be liable to pay surcharge @ 10 paise / kWh on the quantum of energy to be consumed at 25% load factor minus total energy consumed in the billing period but not less than the amount of surcharge that would have been payable for load factor at 25% computed @ 5 paise / kWh).